# SentinelAI: Health-Aware Autonomous Building Intelligence Platform

Project Vision
SentinelAI is an autonomous Building Management System (BMS) built around EnergyPlus, an open-source LLM, and the Model Context Protocol (MCP). It continuously observes a simulated building, reasons over multiple objectives (energy, comfort, carbon, equipment health), validates actions, and updates operating parameters in a closed loop.

# Objectives

• Reduce energy consumption while maintaining thermal comfort.
• Reduce carbon emissions.
• Increase equipment lifetime through health-aware scheduling.
• Demonstrate fully autonomous closed-loop building control.
• Provide explainable AI decisions through an interactive dashboard.

# Tech Stack

Simulation: EnergyPlus + Python API
AI: Qwen 3 or Llama 3.1 (Open Source)
MCP: Python MCP Server
Backend: Python + FastAPI
Frontend: React (or Streamlit for hackathon)
Charts: Plotly
Database: SQLite
Visualization: SVG/Three.js based Digital Twin (2D first, optional 3D)
Version Control: GitHub

# High-Level Architecture

Weather + Occupancy -> EnergyPlus -> Python API -> MCP Server -> Agent Council (Energy, Comfort, Carbon, Health Agents) -> Supervisor Agent -> Safety Validator -> Execution Layer -> EnergyPlus -> Dashboard/Digital Twin.

# Core Modules

1. EnergyPlus Interface
2. MCP Tool Server
3. Agent Council
4. Supervisor Agent
5. Safety Validator
6. Forward Controller
7. Equipment Health Engine
8. Digital Twin
9. Dashboard
10. Data Logger & Analytics

# Agent Council

Energy Agent: minimizes energy.
Comfort Agent: maintains PMV, temperature, humidity, CO₂.
Carbon Agent: minimizes emissions.
Health Agent: protects pumps, chillers, AHUs, fans.
Supervisor Agent merges recommendations into a single action.

# Equipment Health Engine

Computes health score, stress index, remaining useful life, anomaly score and maintenance recommendation from runtime, cycling, power draw and efficiency.

# Digital Twin

Interactive building visualization.
Room heatmap.
Equipment health overlay.
Timeline playback.
Current AI decision per room.
Occupancy overlay.
Energy flow overlay.

# Dashboard Features

Building Vital Metrics
Energy Savings
Carbon Savings
Comfort Score
Equipment Health
Current AI Reasoning
Historical Trends
Alerts
Scenario Comparison (Baseline vs AI)

# MCP Tools

get_zone_temperature()
get_energy_usage()
get_weather()
get_occupancy()
get_equipment_health()
set_hvac_setpoint()
set_airflow()
switch_pump()
set_lighting()
set_ventilation()

# Closed Loop

Observe -> Estimate State -> Agent Council -> Supervisor -> Safety Validator -> Execute -> Verify -> Repeat

# Folder Structure

backend/
 energyplus/
 mcp/
 agents/
 health_engine/
 validator/
 controller/
 dashboard/
 frontend/
 docs/
 building/
 database/
 tests/

# Hackathon Deliverables

1. Source Code
2. EnergyPlus Building Model
3. Interactive Dashboard
4. Architecture Documentation
5. Demo Video
6. GitHub Repository
7. README

# Demo Scenario

Occupancy spike in conference room -> temperature rises -> pump health degrades -> agents negotiate -> supervisor selects action -> validator approves -> EnergyPlus updates -> dashboard and digital twin refresh -> energy reduced while comfort maintained.

# Future Enhancements

Knowledge Graph
Predictive occupancy
Grid-aware optimization
Demand response
Reinforcement Learning
Self-learning control policies
Fault-tolerant multi-building deployment

# Evaluation Mapping

System Integration: EnergyPlus + Python API + MCP + Agent Council + Dashboard.
Energy Savings: Dynamic HVAC optimization.
Thermal Comfort: PMV, humidity, CO₂ and occupancy aware control.
Agentic Autonomy: Multi-agent reasoning with supervisor and validator.
Presentation: Digital Twin, explainable AI, timeline, analytics.

# Note

This document is a high-level blueprint intended to guide implementation. A complete industrial design specification would expand each module into detailed APIs, UML diagrams, database schema, algorithms, and implementation details.

SentinelAI

A Self-Healing Autonomous Building Intelligence Platform

1. Problem Statement

Commercial buildings consume approximately 40% of global energy and contribute significantly to carbon emissions. Existing Building Management Systems (BMS) operate on predefined schedules and static rules that cannot adapt to changing weather conditions, occupancy patterns, equipment degradation, or electricity demand.

Current systems may optimize energy consumption, but they rarely reason about multiple conflicting objectives simultaneously. They also lack explainability, predictive decision-making, and autonomous adaptation.

SentinelAI transforms a conventional building into an autonomous cyber-physical system capable of continuously observing, reasoning, validating, and optimizing its operation.

2. Objective

Develop an AI-powered autonomous Building Management System using EnergyPlus as the building simulator and an open-source Large Language Model connected through the Model Context Protocol (MCP).

The system continuously:

- monitors the building,

- reasons over energy, comfort, carbon, and equipment health,

- autonomously updates operating parameters,

- explains every decision,

- continuously improves building performance.

3. Key Innovation

Most projects optimize only:

Energy ↓

Our project optimizes

Energy

Comfort

Carbon

Equipment Health

Indoor Air Quality

Occupancy

↓

Autonomous Building Intelligence

Instead of treating the building as a collection of sensors,

SentinelAI treats the building as a living intelligent system.

4. Overall Architecture

Weather API

│

│

Occupancy Schedule

│

▼

EnergyPlus Simulation

│

Python Runtime API

│

Real-Time Sensor Stream

│

MCP Tool Server

│

Open Source LLM

│

┌────────────────────────────────────┐

│        Agent Council               │

│                                    │

│  Energy Agent                      │

│  Comfort Agent                     │

│  Carbon Agent                      │

│  Health Agent                      │

└────────────────────────────────────┘

│

Supervisor Agent

│

Safety Validator

│

Forward Control Actions

│

EnergyPlus

│

Dashboard + Digital Twin

5. Technology Stack

Simulation

EnergyPlus

Purpose

Digital Twin of the Building

Outputs

- Room temperatures

- HVAC power

- Cooling loads

- Heating loads

- Occupancy

- CO₂

- PMV

- Humidity

- Electricity usage

Programming Language

Python

Used for

- EnergyPlus API

- MCP Server

- Agent orchestration

- Health Engine

- Dashboard backend

Open Source LLM

Recommended

Qwen 3

or

Llama 3.1

Reason

Excellent reasoning

Good tool calling

Runs locally

MCP

Python MCP Server

Provides tools

get_zone_temperature()

get_energy_usage()

get_weather()

get_equipment_status()

set_hvac_setpoint()

set_airflow()

change_lighting()

set_ventilation()

Dashboard

React

or

Streamlit

If time becomes tight

Streamlit.

Charts

Plotly

Database

SQLite

Stores

- historical data

- AI decisions

- health history

6. Project Modules

Module 1

EnergyPlus Interface

Purpose

Connect Python with EnergyPlus.

Responsibilities

- Run simulation

- Read live variables

- Update actuators

- Maintain simulation loop

Outputs

Temperature

Humidity

PMV

Power

CO₂

Lighting

HVAC

Occupancy

Module 2

MCP Server

Purpose

Provide structured tools for the LLM.

Instead of

reading CSV files,

the LLM calls tools.

Example

get_temperature()

set_hvac()

get_room_status()

get_energy()

Module 3

Agent Council

This is our biggest architectural innovation.

Instead of one LLM,

we create multiple specialists.

Energy Agent

Goal

Minimize electricity.

Looks at

- HVAC load

- lighting

- occupancy

Outputs

Energy recommendation.

Comfort Agent

Goal

Maintain

PMV

Temperature

Humidity

CO₂

Outputs

Comfort recommendation.

Carbon Agent

Goal

Reduce emissions.

Uses

Grid emission factor

Electricity usage

Weather

Outputs

Carbon recommendation.

Health Agent

Our novelty.

Computes

Pump Health

Fan Health

AHU Health

Chiller Health

based on

runtime

power

efficiency

temperature

cycling

Outputs

Health recommendation.

Module 4

Supervisor Agent

Receives

four recommendations.

Example

Energy

↓

Increase setpoint

Comfort

↓

Decrease setpoint

Health

↓

Switch Pump

Carbon

↓

Delay Cooling

Supervisor balances all objectives.

Returns

one decision.

Module 5

Safety Validator

This module protects the building.

Before

EnergyPlus receives any command

Validator checks

Comfort

Temperature

Humidity

Safety

Equipment limits

Example

LLM

Turn HVAC OFF

Validator

Reject

Comfort violation.

Only valid actions proceed.

Module 6

Forward Controller

Converts

AI decisions

into

EnergyPlus commands.

Example

Setpoint

22°C

↓

EnergyPlus

Module 7

Health Engine

Computes

equipment health.

Formula

Health depends on

- runtime

- overload

- cycling

- efficiency

- abnormal power

Produces

AHU

95%

Pump

81%

Fan

72%

Chiller

90%

This module is unique.

EnergyPlus does not provide this.

Module 8

Digital Twin

One of our strongest presentation components.

Instead of graphs

Provide

interactive building visualization.

Room View

Floor

Office

🟢

Conference

🔴

Lobby

🟢

Meeting

🟡

Click room

Shows

Temperature

Humidity

Occupancy

Energy

Comfort

AI decision

Equipment View

Pump

🟡

Fan

🔴

AHU

🟢

Click

Pump

Shows

Health

Reason

Recommendation

Timeline

09:10

Occupancy ↑

↓

Temperature ↑

↓

Pump Health ↓

↓

AI switched airflow

↓

Comfort restored

Module 9

Dashboard

Sections

Live Metrics

Building Vital Index

Energy

Carbon

Comfort

Equipment Health

Charts

Temperature

Energy

Carbon

Occupancy

Equipment Health

AI Panel

Current Goal

Reason

Confidence

Expected Savings

Expected Comfort

Savings

Energy Saved

Carbon Saved

Predicted Cost Saving

Maintenance Saving

Alerts

Equipment

Comfort

Sensor

Weather

7. Complete Closed Loop

EnergyPlus

↓

Sensors

↓

Python API

↓

MCP Server

↓

Agent Council

↓

Supervisor

↓

Safety Validator

↓

Forward Controller

↓

EnergyPlus

↓

Dashboard

↓

Repeat

This satisfies Honeywell's

Closed Loop Requirement.

8. Demonstration Scenario

Start

Normal building.

↓

Conference room fills.

↓

Temperature increases.

↓

Pump efficiency decreases.

↓

Energy increases.

↓

AI detects all changes.

↓

Energy Agent

Suggests increasing HVAC.

↓

Health Agent

Suggests switching pumps.

↓

Comfort Agent

Requests more airflow.

↓

Carbon Agent

Suggests delaying cooling in unoccupied rooms.

↓

Supervisor combines recommendations.

↓

Safety Validator approves.

↓

EnergyPlus updates.

↓

Digital Twin updates.

↓

Dashboard shows

Energy ↓

Comfort maintained

Equipment protected

Carbon ↓

9. Folder Structure

SentinelAI/

backend/

energyplus/

mcp/

agents/

energy_agent.py

comfort_agent.py

health_agent.py

carbon_agent.py

supervisor.py

validator.py

controller.py

dashboard/

frontend/

digital_twin/

health_engine/

database/

building/

small_office.idf

weather/

docs/

architecture.md

README.md

video/

presentation/

I actually think this is the best approach. Don't delete anything from the current blueprint. Just append this as a "Version 2.0 Architectural Revisions" section at the end. It clearly documents what changed and why, and it also shows judges (or mentors) that the design evolved thoughtfully.

Appendix A – Version 2.0 Architectural Revisions

Overview

Following a detailed architectural review, SentinelAI Version 2.0 introduces several improvements to enhance implementation feasibility, system robustness, explainability, and alignment with the hackathon evaluation criteria. These revisions preserve the original vision of an autonomous AI-driven Building Management System while simplifying implementation and strengthening closed-loop autonomy.

1. Agent Council Implementation Revision

Previous Design

The original design proposed four independent AI agents:

- Energy Agent

- Comfort Agent

- Carbon Agent

- Health Agent

Each agent independently generated recommendations before passing them to the Supervisor Agent.

Revised Design

The Agent Council remains the core reasoning engine but is implemented as a single structured-output LLM call during each control cycle.

Instead of invoking multiple LLMs or multiple sequential prompts, one prompt requests reasoning from four logical perspectives:

- Energy Optimization

- Occupant Comfort

- Carbon Reduction

- Equipment Health

The response follows a predefined JSON schema containing individual reasoning sections together with a final recommended action.

Example structure:

{

"energy": "...",

"comfort": "...",

"carbon": "...",

"health": "...",

"recommended_action": {

"temperature":22,

"airflow":0.75,

"lighting":"80%"

}

}

The Supervisor Agent then validates and prioritizes these recommendations before forwarding them to the Safety Validator.

Benefits

- Lower latency

- Reduced token usage

- Fewer API calls

- More deterministic behavior

- Easier debugging

- Better synchronization between objectives

Future Scope

True parallel multi-agent execution remains a future enhancement once the single-call architecture has been fully validated.

2. Safety Validator Enhancement

Previous Design

The Safety Validator simply accepted or rejected the decision generated by the AI.

Revised Design

The Safety Validator has been upgraded into a self-correcting decision loop.

New workflow:

Agent Council

│

▼

Safety Validator

│

┌───────────────┐

│               │

Valid        Invalid

│               │

Execute    Return rejection reason

│

▼

Agent Council (Retry)

│

┌────────┴────────┐

│                 │

Valid           Invalid

│                 │

Execute     Last Known Good

If the first recommendation violates safety or comfort constraints:

- The validator identifies the violated rule.

- The rejection reason is appended to the prompt.

- The Agent Council performs one additional reasoning cycle.

- If the second recommendation is still invalid, the system automatically falls back to the previously verified control state.

Advantages

- Demonstrates autonomous self-correction

- Prevents unsafe building operation

- Eliminates repeated invalid actions

- Increases robustness

- Better satisfies the "Agentic Autonomy" evaluation criterion

3. State Manager Module (New)

A dedicated State Manager module has been introduced.

Responsibilities include:

- Reading EnergyPlus outputs

- Collecting weather information

- Collecting occupancy information

- Aggregating equipment telemetry

- Preparing the current building state

Instead of every module independently reading simulation variables, the State Manager becomes the single source of truth for all building data.

4. Rolling Context Builder (New)

Rather than sending raw EnergyPlus simulation output to the LLM, SentinelAI now constructs a compact context representation.

Each reasoning cycle includes:

Current State

- Zone temperatures

- Humidity

- PMV

- Occupancy

- HVAC power

- Equipment health

- Weather

Historical Summary

Rolling window of the previous 10 control intervals including:

- Minimum temperature

- Maximum temperature

- Average temperature

- Energy trend

- Comfort trend

- Carbon trend

- Equipment health trend

Only summarized information is sent to the LLM.

Advantages

- Smaller prompts

- Faster inference

- Lower memory usage

- More stable reasoning

- Avoids exceeding context limits

5. Baseline Comparison Framework

The evaluation framework has been redesigned to compare two complete simulations.

Baseline Simulation

Original EnergyPlus building

No AI modifications

baseline.idf

SentinelAI Simulation

AI-controlled building

sentinel.idf

Both simulations record identical metrics including:

- Energy consumption

- PMV

- Carbon emissions

- HVAC runtime

- Equipment health

- Indoor Air Quality

- Cost estimation

The Dashboard compares both datasets in real time.

Example metrics include:

- Energy Saved (%)

- Carbon Reduction (%)

- Comfort Improvement

- Equipment Stress Reduction

- Estimated Cost Savings

This ensures all reported improvements are based on measured simulation data rather than theoretical estimates.

6. Data Logging Enhancement

SQLite logging has been expanded.

The following tables are maintained:

BuildingState

Stores every simulation timestep.

AgentDecision

Stores every AI recommendation.

ValidatorLog

Stores validation results.

EquipmentHealth

Stores historical health scores.

BaselineMetrics

Stores baseline simulation outputs.

AISimulationMetrics

Stores AI-controlled simulation outputs.

This enables:

- Historical analytics

- Decision replay

- Dashboard visualization

- Performance benchmarking

7. Revised Closed-Loop Control Pipeline

The autonomous control loop has been updated as follows:

Weather API

│

Occupancy Schedule

│

EnergyPlus Simulation

│

Python Runtime

│

State Manager

│

Rolling Context Builder

│

MCP Tool Server

│

──────────────────────────────────────────────

Single Structured Agent Council

• Energy Reasoning

• Comfort Reasoning

• Carbon Reasoning

• Health Reasoning

↓

Recommended Action

──────────────────────────────────────────────

│

Supervisor Agent

│

Safety Validator

│

┌───────────────┐

│               │

Valid        Invalid

│               │

Execute   Retry Agent Council (1 Attempt)

│

┌────────┴────────┐

│                 │

Valid         Last Known Good

│

Forward Controller

│

EnergyPlus

│

SQLite Logger

│

Baseline Comparator

│

Dashboard

│

Digital Twin

8. Revised Development Roadmap

The implementation priority has been updated to reduce integration risk.

Phase 1

Core EnergyPlus control loop

EnergyPlus

↓

Python

↓

MCP

↓

LLM

↓

EnergyPlus

Phase 2

Safety Validator

- Retry mechanism

- Last-known-good fallback

Phase 3

Baseline comparison

- Dual simulation execution

- Metric logging

- Dashboard comparison

Phase 4

Equipment Health Engine

- Health Score

- Stress Index

- Remaining Useful Life

- Failure Probability

Phase 5

Dashboard

Phase 6

Digital Twin

Phase 7

Presentation and Demo

9. Architectural Philosophy Update

SentinelAI is no longer viewed as a collection of independent optimization modules.

Instead, the system follows a layered autonomous architecture consisting of:

- Perception Layer

  - EnergyPlus

  - Weather

  - Occupancy

  - Equipment Telemetry

- State Management Layer

  - State Manager

  - Rolling Context Builder

- Reasoning Layer

  - Structured Agent Council

- Decision Layer

  - Supervisor Agent

- Safety Layer

  - Safety Validator

  - Retry Mechanism

  - Last Known Good Recovery

- Execution Layer

  - Forward Controller

  - EnergyPlus

- Evaluation Layer

  - SQLite Logger

  - Baseline Comparator

  - Dashboard

  - Digital Twin

This layered design improves modularity, maintainability, and extensibility while remaining feasible for implementation within the hackathon timeline.

10. Summary of Version 2.0 Improvements

| Area | Version 1.0 | Version 2.0 |
| --- | --- | --- |
| Agent Council | Multiple conceptual agents | Single structured LLM call with four reasoning sections |
| Supervisor | Merge multiple agent outputs | Merge structured council output |
| Safety Validator | Accept / Reject | Self-correcting retry + fallback |
| Context | Raw EnergyPlus variables | Rolling summarized context |
| State Handling | Direct module access | Dedicated State Manager |
| Logging | Basic history | Full simulation, AI, validator, and baseline logging |
| Evaluation | Dashboard metrics | Real baseline vs AI comparison |
| Closed Loop | Observe → Act | Observe → Reason → Validate → Retry → Execute → Evaluate |
| Reliability | Basic validation | Graceful recovery with last-known-good state |
| Build Strategy | Feature-first | Core loop → Safety → Baseline → Health → UI |

Final Design Position

With these revisions, SentinelAI Version 2.0 evolves from an AI-assisted building controller into a robust Autonomous Building Intelligence Platform. The architecture now emphasizes deterministic reasoning, self-correcting decision-making, measurable performance improvements, and production-inspired software engineering practices while remaining practical for a hackathon implementation. This revised design strengthens the project's alignment with the judging criteria for System Integration, Energy Efficiency, Agentic Autonomy, Reliability, and Presentation Quality.